## Sheet1
Company | Company Built Area | Company Project Value | Project Name | Location | Construction | Building Type | Certified | Floor | Car Parking | Lift | AC | Force Ventilation | Fire Protection | Fire Detection | PA System | CCTV | Access Control | PABX | BMS | Built Area | Land Value (M USD) | Construction Cost (M USD) | Total Cost (M USD) | Sell Value (M USD) | Duration (Month) | No. Of Sub Contractor | No. of Labour | Time Saved Percentage | Glass Installed | Generator | AVR | Transformer | RMU | BBT | Solar | Rooms
InnStar Ltd | 59462 | 111.37 | TIC | 213/A, Tejgaon, Dhaka | 100% As Cast RCC | Commercial | LEED Platinum | 5+32 | 187 | 7 Passenger+ 1 Fireman | VRF System | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 46592.9368 | 24.55 | 22.8 | 47.35 | 87.57 | 43 | 42 | 400+ | 7% | Double Glazed Curtain Wall with Combination of both Unitized and Semi Unitized System | 4 Nos 800 KVA Diesel | 6.35 KV-3 | 3200 KVA | DPDC RMU | 2500 Amp | 60 Pannel 30KW | Double Height Drop Off Reception, GYM, BBQ party, Swimming Pool, Helipad, Meeting Room, Conference Room, Community Club, Prayer Room, Indoor and Outdoor Games.
|  |  | ITC | 35/Kha & 36/Kha, Satrasta, Tejgaon, Dhaka | Partial As Cast RCC | Data Center of 35 Banks | EDGE | 2+14 | 55 | 2 Passenger+ 1 Service | VRF System | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 10805.948 | 8.82 | 4.1 | 12.92 | 18.5 | 25 | 16 | 170+ | 12% | Double Glazed Semi Unitized Curtain Wall | 3 Nos 1000 KVA Diesel |  | 2500 KVA | DPDC RMU | 2500 Amp | 50 Panel 25KW | BBQ party, Meeting Room, Conference Room, Community Club, Prayer Room, Indoor and Outdoor Games.
|  |  | One Hatirjheel | 3/A, East Kunipara, GMG Circle, Hatirjheel | Artificial Fair Face | Commercial |  | 1+9 | 8 | 1 Passenger + 1 Car | VRF System |  | Yes | Yes | Yes | Yes |  |  |  | 2063.197 | 1.41 | 0.53 | 1.94 | 5.3 | 18 | 16 | 110+ | 7% | Double Glazed Semi Unitized Curtain Wall | 1 Nos 250 KVA Diesel |  |  |  |  | 20 Panel 10KW | Reception, Conference Room, Meeting Room, Oppen Terrace
Concord Group | 44433 | 44.53 | Concord Syed Tower | Road 14, Dhanmondi, Dhaka | RCC, Fairface | Residential |  | 3+14 | 78 | 3 Passenger | Individual | Yes | Yes | Yes | No | Yes | Yes | Yes | No | 10000 | 10.3 | 4.23 | 14.53 | 17.6 | 27 | 23 | 150+ |  | Thai Aluminium | 2 Nos 300KVA Diesel |  | 800 KVA |  |  | 18 Pannel 18 KW | Double Height Drop off Reception, Waterbody,Gym, Swimming Pool, Basket Ball Ground
|  |  | Terminal-3 | Kurmitola, Dhaka-1229 | PARTIAL | Airport Terminal | [13 empty] | 34433.0855 |  |  | 30 |  | 7 | 4 | 1100+ | 3%
Nassa Group | 18382 | 45.19 | Nassa Diamond | SED-3, 28 Gulshan Avenue | Steel Building | Commercial |  | 3+14 | 82 | 3 Passenger | VRF System | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 12082 | 17.2 | 6.83 | 24.03 | 31.93 | 40 | 29 | 110+ | 8% | Tripple Glazed Semi Unitized Fritted Glass | 2 Nos 800KVA Diesel | 3.8 KV-3 | 1600 KVA | DESCO RMU | 1000 Amp | 12 Pannel 9.5 KW | Double Height Drop off Reception, Waterbody,Gym, Conference Room
|  |  | Nassa Heights | 47, Gulshan Avenue, Gulshan-1, Dhaka | Steel Building | Commercial |  | 3+14 | 42 | 2 Passenger + 1 Car | VRF System | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 6300 | 7.6 | 2.74 | 10.34 | 13.26 | 34 | 27 | 80+ | 0% | Double Glazed Unitized System Curtain Wall (Fritted) | 1 Nos 1000 KVA Diesel |  | 1600 KVA | DESCO RMU | 1000 Amp | 12 Pannel 9.5 KW
Volumezero | 16400 | 36.34 | SJIBL HQ | 103 Gulshan Avenue, Dhaka | RCC | Commercial | LEED GOLD | 3+14 | 75 | 4 Passenger + 1 Fireman | Central Chiller | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 13276.9517 | 16.8 | 5.72 | 22.52 | 30.5 | 29 | 19 | 140+ | 2% | Double Glazed Semi Unitized Curtain Wall | 1 Nos 1200 KVA Diesel | 3.2 KV-3 | 1250 KVA | DESCO RMU | 1200 Amp | 16 Pannel 12 KW | Double Height Drop off Reception, Waterbody,Gym,Private Party Lounge, Swimming Pool, Helipad
|  |  | Simpletree Hashi | Road 04, Block A, Banani, Dhaka | 100% Fairface & Wood | Residential |  | 2+10 | 24 | 2 Passenger | Individual | No | No | No | No | Yes | Yes | Yes | No | 3122.6766 | 3.53 | 1.03 | 4.56 | 5.84 | 15 | 28 | 90+ | 8% | Thai Aluminium | 1 Nos 200 KVA Diesel |  | 200 KVA |  |  | 8 Pannel 6 KW | Reception, Conference Room, Gymnasium, Meeting Room,
Welcast Properties | 4862 | 6.32 | Karims Icon | 73/74 CDA Avenue Muradpur, Chittagong | RCC | Commercial |  | 1+10 | 14 | 2 Passenger | Individual | No | Yes | Yes | Yes | Yes | Yes | Yes | No | 4861.5242 | 3.21 | 1.38 | 4.59 | 6.32 | 21 | 23 | 70+ | 0% | Double Glazed Semi Unitized System | 1 Nos 800 KVA Diesel |  | 630 KVA |  |  | 7 Pannel 3.5 KW | Conference Room, Gymnasium